## Slide 1
Single Particle Energy Resolution
Manual Calibration
Ross McCoy and Andrew Myers
4/18/2017

## Slide 2: Relevant Information
All particles used were pions, fired using single particle gun at θ=65°, for a run of 10000 events
Geometry used was SiD_o2_v02
Full simulation, including digitization and reconstruction, performed as usual
ECal: calibration_factorsMipGev increased from 6.58e-3 13.16e-3 to 9.212e-3 18.424e-3
HCal: calibration_factorsMipGev decreased from 3.0e-2 to 2.5e-2

## Slide 3: Energy Resolution using Pions (10000 Events)

## Slide 6
Gaussian Fit Results:
Sigma(E)=6.42717
Mean=98.3763

## Slide 9
Gaussian Fit Results
Sigma(E)=2.31925
Mean=20.2818

## Slide 10: Backup Slides

## Slide 11
Gaussian Fit Results
Sigma(E)=1.49703
Mean=10.0782

## Slide 12
Gaussian Fit Results
Sigma(E)=3.01902
Mean=30.3792

## Slide 13
Gaussian Fit Results
Sigma(E)=3.60304
Mean=40.2568

## Slide 14
Gaussian Fit Results
Sigma(E)=4.10123
Mean=50.1213