## Slide 1: News from Saclay
P. Colas, D. Attié, S. Ganjour
LCTPC phone meeting, Nov. 16,2017

## Slide 2: Encapsulated resistive foil Micromegas with reverse polarization
Reserved a test beam period at DESY to test 3 to 4 modules with several improvements:
  Better pad connections (threaded stiffener glued on PCB, under mechanical test, electronic test in 1 or 2 weeks)
  Grounded mesh, anode at +400 V
  (should give less noise and less
  distortions)
  -- DLC just delivered (2 Mohm/sq)
  -- same test going on for T2K
  upgrade with cosmic-rays

## Slide 3: dE/dx analysis
With MM data from 2015 by a Russian student (from T2K)
Will combine 170 padrows to estimate resolution with a track length of 1.2 m

## Slide 4: TPC interface document
P. Colas, A. Sugiyama

## Slide 5: Integration Task Force
An integration Task Force is set up in ILD
Finalize membership early December
(one engineer + one or two physicists per subdetector)
Face-to-face meeting at DESY or LAL early 2018 (2nd half of January)
Paul and Serguei @KEK for 2 weeks, with Keisuke, Yumi, Aiko, Tomohisa,Akira,….
Discussed with Sugimoto the space and location issues for the ancillaries

## Slide 6: Locations
  platform (no vibration, space reduced),
  cavern,
  gallery (facilitated accessibility for maintenance,
  surface (less space limitation nor safety constraints but long distance to the detector)
LV has to be close to the detector: platform
Gas analyse system : same
HV : Cavern
Backend and DAQ computers : gallery

## Slide 7
SURFACE
UNDERGROUND
Gas slow control computer
EXTERNAL DEVICES
INTERFACE REGION
ON-DETECTOR DEVICES
3V/8A power supply for ASICS per module
Repeated Side A and Side B
Module
(x240)
In 6 sectors
Or supermodule (x80)
0.4 to few kV power
Supply for gas amplification
6 patch panels
DAQ computer (farm?)
(data and DACs,clock)
Optical fibre
Few V power supply
For gating

## Slide 8: Europe-Japan matters
E-Jade now running well, with WP3.3 for ILC-related physics and detector R&D.
TPC: Paul and Serguei passing the 1st month of secondments
Central integration : Roman and Karsten are in and travel often
Next events:
  ILD meeting in Kitakami : Feb. 20 to 22
  FJPPL à Nara : May 9 to 11
  Asian LCWS in Kyushu : May 28 to June 1.