## Slide 1: FONT Meeting Friday 12th December 2017
Douglas BETT
Waist scan and IQ rotation

## Slide 2: Waist scan 1
Fit minimum = 122.95

## Slide 3: Waist scan 2
AQF1FF at -10 um

## Slide 4: Bonus: DAC issues revisited
Beam extraction
1 – 0 – 1 – 0 – 1 – 0 – 1 – 0 – 1 – 0
0 – 0 – 1 – 1 – 0 – 0 – 1 – 1 – 0 – 0
Feedback
Bunches present, feedback off
Bunches absent, feedback off
Bunches present, feedback on
Bunches absent, feedback on
1 – 0 – 1 – 0 – 1 – 0 – 1 – 0 – 1 – 0 – 1 – 0 – 1 – 0 – 1 – 0 – 1 – 0 – 1 – 0 – 1 – 0
0 – 0 – 1 – 1 – 0 – 0 – 1 – 1 – 0 – 0 – 1 – 1 – 1 – 0 – 0 – 1 – 1 – 0 – 0 – 1 – 1 – 0
missed
trigger
NB – the fact that the feedback on/off pattern looks normal suggests that the trigger was missed by the board itself rather than being dropped by the network or the DAQ

## Slide 5: Extra bonus: Gain optimization
(clarification of the “gain optimization” method presented last week)
measured position of second bunch at IPB
, , , measured I and Q of first bunch for BPMs A and C (charge-normalized)
The gain optimization finds the linear least-squares solution to the expression:
The operation of the feedback algorithm is such that the kick provided to the second bunch is
The theoretical optimized position is
where is the kicker calibration constant in um/count
And the optimized gains are therefore given by
The standard deviation of gives the optimized jitter of the second bunch and can be compared with the jitter obtained by using the measured gains instead of the fitted ones.
Bunch 2, IPB, feedback off
ipfbRun6

## Slide 6: Summary
IQ rotation may be more reliable method of determining when the waist is on the BPM than the jitter
Issue with DAC values brought up last week found to be due to missing trigger