## Slide 1: FONT Meeting Friday 11th May 2018
Douglas BETT
Overview of April 2018

## Slide 2: Contents
Overview of data runs
Resolution measurements
Problems / issues
Planning for future runs

## Slide 3: Overview of data runs
 | OWL | DAY | SWING
M 16 |  |  | 
T 17 |  |  | 
W 18 |  |  | 1
T 19 |  |  | 2a
F 20 | 2b |  | 
S 21 |  |  | 
S 22 |  |  | 
M 23 |  |  | 
T 24 |  |  | 
W 25 | 3 |  | 
T 26 |  |  | 
F 27 | 4a | 4b | 
1. BPM Q’ calibration
2. 3-BPM beam-based alignment
3. Nominal optics studies
4. 2-BPM feedback stabilising at IP

## Slide 4: 1. 18/04 [swing]
baseline runs
IPCxCal1
IPCyCal2
QD0FFyScan2
IPCyCal3
QD0FFyScan1
IPCTiltScan2
IPCyCal5
IPCTiltScan1
IPCyCal4
IPCyCal1

## Slide 5: 1. 18/04 [swing]
Nominal optics, single bunch, focus on IPC
IPBPM movers fully operational (with one important caveat)
Horizontal beam alignment checked using 2nd IP board
New LabVIEW DAQ used to continuously harvest upstream orbit data from EPICS
PROBLEMS/ISSUES
Very high jitter
Last user of IPBPM movers had applied a 3V offset between the front and back movers of the IPC block in the ATF user interface

## Slide 6: Baseline runs
vertical
horizontal
average over 100 triggers of I and Q channel waveforms with 70 dB attenuation

## Slide 7: IPCxCal1_30dB_180418
max @ sample 56
sample 56
sample 58
charge vs. time
position vs. time
Q vs. I
k vs. sample index
sample 56
I, Q vs. time
sample 56
Q’ vs. time
sample 56

## Slide 8: IPCyCal3_0dB_180418
max @ sample 55
sample 55
sample 59
charge vs. time
position vs. time
Q vs. I
k vs. sample index
sample 55
I, Q vs. time
sample 55
Q’ vs. time
sample 55

## Slide 9: 2a. 19/04 [swing]
IPyCal1
IPyCal2
IPxCal1
IPyCal8
IPyCal7
IPyCal6
IPyCal5
IPyCal4
IPyCal3

## Slide 10: 2b. 20/04 [owl]
IPyCal22
IPyCal21
IPyCal20
IPyCal19
IPyCal18
IPyCal17
IPyCal16
IPyCal15
IPyCal14
IPyCal9
IPyCal9A
IPyCal10
IPyCal11
yABTilt
yWaistScan
AQD0FFyScan1
AQF1FFyScan1
IPyCal12
IPyCal13
04:58 ACCESS
05:38 ACCESS
06:32 ACCESS
(adjust IPBPM phase)

## Slide 11: 2. (19-20)/04 [swing+owl]
High-β optics, single bunch, three BPM studies
Attempted to minimize measured resolution by manipulating: (1) BPM alignment (2) beam charge (3) set value of
FF quad currents, FF quad mover settings and BPM mover voltages added to list of PVs harvested from EPICS
PROBLEMS/ISSUES
Took a long time (~3 hours) to tune the optics
Majority of calibrations are flawed

## Slide 12: Phase adjustment
iter1
iter2
iter3
 | θ | Dial
IPA | 1.39 | -1170
IPB | -1.43 | -71
IPC | 1.46 | -60
FINAL
 | θ | Dial
IPA | 0.44 | 0
IPB | 0.31 | 0
IPC | 0.45 | 0
INITIAL

## Slide 13: Calibrations
File | Status
IPyCal1 | 
IPyCal2 | 
IPyCal3 | 
IPyCal4 | 
IPyCal5 | 
IPyCal6 | 
IPyCal7 | 
IPyCal8 | 
IPyCal9 | 
IPyCal10 | 
IPyCal11 | 
IPyCal12 | 
IPyCal13 | 
IPyCal14 | 
IPyCal15 | 
IPyCal16 | 
IPyCal17 | 
IPyCal18 | 
IPyCal11
IPyCal18
IPyCal15

## Slide 14: Flawed calibrations I
IPyCal1
IPyCal2
IPyCal12
IPyCal14
File | Status
IPyCal1 | 
IPyCal2 | 
IPyCal3 | 
IPyCal4 | 
IPyCal5 | 
IPyCal6 | 
IPyCal7 | 
IPyCal8 | 
IPyCal9 | 
IPyCal10 | 
IPyCal11 | 
IPyCal12 | 
IPyCal13 | 
IPyCal14 | 
IPyCal15 | 
IPyCal16 | 
IPyCal17 | 
IPyCal18 | 

## Slide 15: Flawed calibrations II
IPyCal4
IPyCal5
IPyCal6
IPyCal7
File | Status
IPyCal1 | 
IPyCal2 | 
IPyCal3 | 
IPyCal4 | 
IPyCal5 | 
IPyCal6 | 
IPyCal7 | 
IPyCal8 | 
IPyCal9 | 
IPyCal10 | 
IPyCal11 | 
IPyCal12 | 
IPyCal13 | 
IPyCal14 | 
IPyCal15 | 
IPyCal16 | 
IPyCal17 | 
IPyCal18 | 

## Slide 16: Flawed calibrations III
IPyCal9
IPyCal13
IPyCal10
IPyCal3
File | Status
IPyCal1 | 
IPyCal2 | 
IPyCal3 | 
IPyCal4 | 
IPyCal5 | 
IPyCal6 | 
IPyCal7 | 
IPyCal8 | 
IPyCal9 | 
IPyCal10 | 
IPyCal11 | 
IPyCal12 | 
IPyCal13 | 
IPyCal14 | 
IPyCal15 | 
IPyCal16 | 
IPyCal17 | 
IPyCal18 | 

## Slide 17: Flawed calibrations IV
IPyCal8
IPyCal16
IPyCal17
File | Status
IPyCal1 | 
IPyCal2 | 
IPyCal3 | 
IPyCal4 | 
IPyCal5 | 
IPyCal6 | 
IPyCal7 | 
IPyCal8 | 
IPyCal9 | 
IPyCal10 | 
IPyCal11 | 
IPyCal12 | 
IPyCal13 | 
IPyCal14 | 
IPyCal15 | 
IPyCal16 | 
IPyCal17 | 
IPyCal18 | 

## Slide 18: 3. 25/04 [owl]
IPyCal1
AQD0FFyScan1
AQD0FFyScan2
AQD0FFyScan3
latencyScan1
AQD0FFyScan4
04:23 ACCESS
05:02 ACCESS
(upstream setup)

## Slide 19: 3. 25/04 [owl]
Nominal optics, two bunch, three BPM studies
PROBLEMS/ISSUES
Unacceptable offset of the second bunch

## Slide 20: 4a. 27/04 [owl]
AQD0FFyScan1
AQD0FFyScan2
AQD0FFyScan3
AQD0FFyScan4
AQD0FFyScan5
AQD0FFyScan6
yWaistScan1
AQD0FFyScan7
AQD0FFyScan8
AQD0FFyScan9
AQD0FFyScan10
AQD0FFyScan11
AQD0FFyScan12
mCal1
IPKCal1
IPKCal2
loPhaseScan1
05:17 ACCESS
07:18 ACCESS
(upstream setup)
(diagnose P2)

## Slide 21: 4b. 27/04 [day]
K1 and K2 calibrations
AQD0FFyScan13
AQD0FFyScan14
yDispersionScan1
latencyScan1
latencyScan2
yWaistScan2
IPAyTiltScan
IPByTiltScan
IPCyTiltScan
AQD0FFyScan15
IPKCal
feedback runs

## Slide 22: 4. 27/04 [owl+day]
High-β optics, two bunch, three BPM studies
Returned to performing BPM calibrations with quadrupole mover
PROBLEMS/ISSUES
Calibrations remain suspect
Feedback unsuccessful – problem with gains?

## Slide 23: Conclusion
Resolution plateau reached at ~20 nm
Too much drift to comfortably operate any distance off waist?