## Slide 1: FONT Meeting Friday 18th May 2018
Douglas BETT
Dispersion scan

## Slide 2: Contents
Calibration comparison
  Single sample to multi-sample
Resolution as function of dispersion

## Slide 3
 | OWL | DAY | SWING
M 16 |  |  | 
T 17 |  |  | 
W 18 |  |  | 1
T 19 |  |  | 2a
F 20 | 2b |  | 
S 21 |  |  | 
S 22 |  |  | 
M 23 |  |  | 
T 24 |  |  | 
W 25 | 3 |  | 
T 26 |  |  | 
F 27 | 4a | 4b | 

## Slide 4: AQD0FFyScan14
I waveform for IPB
(from 0 um setting)
14
30
26
Sample ranges that give minimum resolution when applied to jitter run
Single sample: 26
Multi-sample: 14-30

## Slide 5: AQD0FFyScan14 IPA: ref = 27, sig = 26

## Slide 6: AQD0FFyScan14 IPA: ref = 27, sig = 14:30

## Slide 7: AQD0FFyScan14 IPB: ref = 27, sig = 26

## Slide 8: AQD0FFyScan14 IPB: ref = 27, sig = 14:30

## Slide 9: AQD0FFyScan14 IPC: ref = 27, sig = 26

## Slide 10: AQD0FFyScan14 IPC: ref = 27, sig = 14:30

## Slide 11: Calibration summary
 | Single sample |  | Multi-sample | 
IPA | 1.375 | 0.259 | 1.407 | 2.696
IPB | -1.276 | -0.176 | -1.277 | -2.109
IPC | 1.357 | -0.111 | 1.405 | -1.131
 | Single sample |  | Multi-sample | 
IPA | 1.375 | 0.259 | 1.407 | 2.696
IPB | -1.276 | -0.176 | -1.277 | -2.109
IPC | 1.357 | -0.111 | 1.405 | -1.131
10.41 11.98
10.19
ratio
large jitter of signal for settings beyond 0 μm due to saturation  omit last two settings
Note discrepancy between and - typically they are more similar

## Slide 12: Dispersion scan: resolution
with drift removal applied

## Slide 13: Conclusion
Results from scan suggest that resolution is not strongly dependent on dispersion