## Slide 1: FONT Meeting Friday 29 June 2018
Douglas BETT
Diode processor resolution

## Slide 2: Contents
Initial measurements with P2 signals split to drive both diode processor and conventional processor
  phase/position calibration
  resolution and dynamic range
Revised setup with diode processor on P1, P2 and P3 instrumented as usual

## Slide 3
IPyCal1-3
IPxCal1-3
mCal1, loPhase1
IPxCal4-6
jitRun1
IPxCal7
jitRun2
IPxCal8
AQF1FFxScan1-2
AQF1FFxScan3-4
AQF1FFxScan5-6
jitRun3
dynamicRange1
QD0FFyScan1-3
IPyCal4-5
upstream
IP - x
IP - y
1

## Slide 4: Note on sample timing
P1-
P1-
P2-
P2-
P2-
P3-
P3-
DP-
DP-
bank 1
bank 2
bank 3
Ch1
Ch2
Ch3
BPM signal to ADC assignment has diode processor signals split across the P1 and P3 banks
Scan delays set for optimal sampling of P1 and P3 signals, so diode processor signal sampling sub-optimal
Sub-optimal sampling could have negative impact on resolution but with only ~3 dB attenuation possibly necessary anyway due to high signal level from diode

## Slide 5
IPyCal1-3
IPxCal1-3
mCal1, loPhase1
IPxCal4-6
jitRun1
IPxCal7
jitRun2
IPxCal8
AQF1FFxScan1-2
AQF1FFxScan3-4
AQF1FFxScan5-6
jitRun3
dynamicRange1
QD0FFyScan1-3
IPyCal4-5
upstream
IP - x
IP - y
1

## Slide 6: LO phase calibration
Conventional processors show a dependence of position-dependent output () on LO phase () when input signals not perfectly in phase
given by ratio (for small )
Typical @ 714 MHz
Normally stripline phase shifters used to match phase of inputs but not possible this shift due to unresponsive serial device server
Calibrate dependence on by changing master LO phase by
Define the bunch position as:
where is such that exhibits no dependence on phase

## Slide 7: loPhase1: P2 waveforms
waveforms averaged over LO phase shifter setting

## Slide 8: loPhase1: vs.
P2 shows extreme dependence on phase, likely a result of the split and poorly matched cables

## Slide 9: loPhase1: P1 position over time

## Slide 10: loPhase1: P2 position over time

## Slide 11: loPhase1: P3 position over time

## Slide 12: mCal1: P1 position over time

## Slide 13: mCal1: P1 fit to data
±100 um points omitted from fit

## Slide 14: mCal1: P2 position over time

## Slide 15: mCal1: P2 fit to data
±100 um points omitted from fit

## Slide 16: mCal1: P3 position over time

## Slide 17: mCal1: P3 fit to data
±100 um points omitted from fit

## Slide 18: mCal1: diode position over time

## Slide 19: mCal1: diode fit to data
±100 um points omitted from fit

## Slide 20: Calibration summary
BPM |  |  |  | 
P1 | -0.00505 | 0.0560 | 0.3047 | 0.2979
P2 | -0.00436 | 0.3468 | 4.0829 | 4.0405
P3 | 0.00519 | -0.1575 | -0.6263 | -0.6070
P2 (diode) | -0.00178 | n/a | n/a | n/a
BPM |  |  |  | 
P1 | -0.00505 | 0.0560 | 0.3047 | 0.2979
P2 | -0.00436 | 0.3468 | 4.0829 | 4.0405
P3 | 0.00519 | -0.1575 | -0.6263 | -0.6070
P2 (diode) | -0.00178 | n/a | n/a | n/a
from diode: loPhase1
from diode: mCal1

## Slide 21
IPyCal1-3
IPxCal1-3
mCal1, loPhase1
IPxCal4-6
jitRun1
IPxCal7
jitRun2
IPxCal8
AQF1FFxScan1-2
AQF1FFxScan3-4
AQF1FFxScan5-6
jitRun3
dynamicRange1
QD0FFyScan1-3
IPyCal4-5
upstream
IP - x
IP - y
1

## Slide 22: jitRun1
P1
P2
P2 (diode)
P3
BPM | Jitter [um]
P1 | 1.031
P2 | 1.807
P2 (diode) | 1.465
P3 | 1.613
(diode)

## Slide 23: jitRun2
P1
P2
P2 (diode)
P3
BPM | Jitter [um]
P1 | 1.114
P2 | 1.881
P2 (diode) | 1.665
P3 | 1.778
(diode)

## Slide 24: jitRun3
P1
P2
P2 (diode)
P3
BPM | Jitter [um]
P1 | 1.182
P2 | 2.165
P2 (diode) | 1.950
P3 | 1.939
(diode)

## Slide 25: Resolution summary
 |  | jitRun1 |  | jitRun2 |  | jitRun3 | 
[μm] |  | 0.744 |  | 0.774 |  | 1.283 | 
 | P1 | 0.322 | 0.282 | 0.301 | 0.237 | 0.452 | 0.330
 | P2 | 0.401 | 0.304 | 0.402 | 0.263 | 0.950 | 0.384
 | P3 | 0.315 | 0.266 | 0.299 | 0.229 | 0.475 | 0.318
 |  | jitRun1 |  | jitRun2 |  | jitRun3 | 
 |  | 0.744 |  | 0.774 |  | 1.283 | 
 | P1 | 0.322 | 0.282 | 0.301 | 0.237 | 0.452 | 0.330
 | P2 | 0.401 | 0.304 | 0.402 | 0.263 | 0.950 | 0.384
 | P3 | 0.315 | 0.266 | 0.299 | 0.229 | 0.475 | 0.318
where correspond to cyclic permutations of P1, P2 and P3 and the coefficients are determined from a least-squares fit to data
left: using conventional processor
right: using diode processor
CONCLUSION: resolution of diode processor better than that of conventional processor - at least while signals attenuated by ~3 dB due to split

## Slide 26
IPyCal1-3
IPxCal1-3
mCal1, loPhase1
IPxCal4-6
jitRun1
IPxCal7
jitRun2
IPxCal8
AQF1FFxScan1-2
AQF1FFxScan3-4
AQF1FFxScan5-6
jitRun3
dynamicRange1
QD0FFyScan1-3
IPyCal4-5
upstream
IP - x
IP - y
1

## Slide 27: dynamicRange1
Absolute scan of all three BPM movers across wide range
Large orbit offset (~1 mm) observed at P2 (as usual)
P2 and diode start to saturate as P1 and P3 come out of saturation, so data set less useful for estimating resolution (no 3BPM resolution estimates)
Δ from diode saturates digitizer earlier than conventional processor but processor saturation occurs later (judging by measured jitter)
Sample timing jumped twice during -1 mm run but data set still usable as both times jumped by half- integer number of clock cycles
(diode)
ADC6
1st jump
2nd jump

## Slide 28: dynamicRange1 – linear range

## Slide 29: dynamicRange1 - resolution

## Slide 30: Summary
Large phase dependence at P2 (apparent 20 μm/°)
Stripline phase shifters inoperable during shift due to unresponsive serial device server, so removed in analysis
Estimating resolution from jitter runs by direct comparison of measurements from diode and conventional processor suggests a resolution significantly better than 1 μm
3BPM resolution estimate using least-squares fit gives very different answer depending on which processor used for P2 position
  300-1000 nm using conventional processor
  200-400 nm using diode processor
Results suggest diode processor likely to have superior resolution to conventional processor (for low input signal levels)