## Slide 1: SDHCAL actitivites
I.L

## Slide 2
Hardware
ASICs HR3: 732 were produced and tested. Yield of 85%
PCBs-ASUs : 100x33 cm2 hosting each 48 ASICs conceived, produced and electrically tested
DIFs : Long and thin DIFs designed and produced.
Connectors : DIF-ASU, ASU-ASU are identical. Designed ad produced
ASU’s sent from Lyon to CIEMAT for full test with the new Firmware.
Detectors : 2 Glass plates of 2m x &m were coated. Construction of the first large detector should be performed before September.
We need a help to conceive and build the cassettes to host the detector and its embedded electronics

## Slide 3
Analyses
-Simulation: Guillaume
PID: Bing and Sameh
-Energy estimate using standard methds : Guillaume
Energy estimate using MVT : Bing and Sameh and Master students of JTSU
Pion-proton separation : Antoine
Hadronic shower separatin : Rémi, Bo ( Arbor paper is stopped. What to do?)

## Slide 4
Next steps
Common test with SiW technological prototype end of September.
We need to have a clear program taking into account the results obtained so far:
Applying a configuration with equalized response (using threshold variation)?
Having many energy points for MVA?
Having more proton runs?
Homogeneity study
Large prototype: when to finish it and where to test it?