## Slide 1: FONT Meeting Friday 12th October 2018
Douglas BETT
Calibration by iteration

## Slide 2: Contents
Description of “fit calibration” method
  Method for iterative fit of calibration constants
Results
  From ColinRun3, nominal position and tilt
  Calibration, resolution and “scale” i.e.

## Slide 3: “Fit calibration” method
In the “fit scale” method, the position at the BPM of interest is described as a linear combination of the positions at the other two BPMs:
  This is equivalent to fitting the calibration scale factors and (for fixed )
The fit can be improved by increasing the number of degrees of freedom:
The corresponding geometric expression is:
So the calibration constants can be expressed in terms of the fit parameters as follows:
i.e. the fit calibration method fits , , , (for fixed and )

## Slide 4: Constraint on calibration
The calculation is typically performed three times using a different BPM as the one with a fixed calibration each time and three different estimates for the resolution are obtained
Not possible to allow three scale factors to vary freely due to trivial solution to above eqn:
Possible to impose a constraint on the scale factors such as constant
For this study, the procedure was as follows:
  Start with the calibration parameters from an actual calibration: , , , , and
  Obtain new estimates for , , and by fitting to calculated using and
  Recalculate and obtain new estimates for , , and by fitting to it
  Recalculate and obtain new estimates for , , and by fitting to it
  Repeat
Ultimately expect to converge on trivial solution

## Slide 5: Colin3_posNomTiltNom1
Calibration parameters
IPA IPB IPC
resolution [μm]
scale = [μm-1]
IPA | -1.13 | 0.63
IPB | -1.03 | 0.97
IPC | 0.66 | 0.66
IPA | -1.13 | 0.63
IPB | -1.03 | 0.97
IPC | 0.66 | 0.66

## Slide 6: Consistency of

## Slide 7: Consistency of
not consistent with geometry

## Slide 8: Colin3_posNomTiltNom2
Calibration parameters
IPA IPB IPC
resolution [μm]
scale = [μm-1]

## Slide 9: Colin3_posNomTiltNom3
Calibration parameters
IPA IPB IPC
resolution [μm]
scale = [μm-1]

## Slide 10: Calibration results
Run 1
Run 2
Run 3
initial calibration
after two iterations
IPA
IPB
IPC
converged value of

## Slide 11: Resolution results

## Slide 12: Conclusion
Iterative fit method rapidly “converges” in (for sensible initial scale factors)
  switches between two possible values with each iteration
  variability of from run to run (i.e. range) varies from for IPA to for IPC
Scale parameter minimized after two iterations
  Grows exponentially after this, doubling every ~20 iterations
After two iterations resolution ~30% smaller than initial
  Second iteration improves resolution by ~9% compared to first iteration