## Slide 1: Tunnel Consideration Update with Accelerator Arrangement
H. Hayano KEK
CFS-WG AWLC2020 SLAC Oct222020

## Slide 2
CFS design flow
Revise the lattice for ILC250 and create geometry file
Create 3D tunnel arrangement
Create 3D arrangement of accelerator components
Optics Deck (as of Feb. 2020) -> Geometry file ( CSV format)
Geometry file -> 3D accelerator components ( by STEP format )
Check any interference and check tunnel shape,
then feedback to the tunnel design
This presentation

## Slide 3
ILC Lattice Design Update
Major revision and updates of the optics deck (the lattice) in 2018 - 2019
Vertically curved Main Linac, Laser straight in BDS, DR
Put 583m extra-space at both Main Linac upstream for collision timing adjustment
Positron undulator dogleg position was optimized to avoid beamline interfarence
Radius at turn-around were increased to widen bend-to-bend distance
All dump lines were added
Undulator photon-dump line was added
Electron source Linac position was moved to upstream
…
Make Positron undulator longer and put extra-space for future upgrade

## Slide 4
Overall plot of geometry file output
X-Z plane
Y-Z plane
Y-Z plane
K. Kubo
Vertically curved Linac
along geoid
Vertically curved Linac
along geoid
* This plots show
before left-right turn-over.
Not a final.
In order to fit accelerator
into Kitakami candidate site,
left-right turn-over was done.
Vertically
Curved Linacs
Laser straight BDS

## Slide 5
Adding dump lines
e- source dump line
e- source dump line (expanded view)
e+ source dump line
e+ source dump line
(expanded view)
examples
K. Kubo
K. Kubo

## Slide 6
Optics Deck
-> Geometry file
-> 3D accelerator components ( by STEP format )
Generation of Accelerator Components Arrangement
Make accelerator component symbol, like below;
Bend : Blue rectanguar 0.5m x 0.5m x L
Quadrupole : Red cylinder 0.5m x 0.5m x L
Sextupole : Yellow cylinder 0.5m x 0.5m x L
Cavity : silver cylinder d=0.2 x L
Cryomodule : Yellow cylinder d=1.0 x L
Drift space : Black line

## Slide 7
3D accelerator components arrangement
ILC overall
ILC central region
X
Z
Y (upside +)
DR
Electron Main Linac
Positron Main Linac

## Slide 8
Electron-side BDS, RTML
Electron-side BDS, RTML
Photon Dump Area
Photon Dump
to be this point
(~2km from undulator end point)

## Slide 9
3D View of components arrangement, looking to IP region
Electron-side RTML
Ring to ML
Positron-side RTML
Ring to ML
Electron-side RTML
Source to Ring
Positron-side RTML
Source to Ring
Electron-side BDS
Positron-side BDS
IP
Electron-side
Main Dump
Positron-side
Main Dump

## Slide 10
3D View of components arrangement, looking to Cryomodule region
Electron-side RTML
Ring to ML
Electron-side Main Linac end
Cryomodules
Electron Beam Direction
Electron Beam
to undulator section

## Slide 11
Create 3D Tunnel Wall to house accelerator components
Creation of 3D tunnel Arrangement
Purpose as follows;
To check any interference between accelerator, beam dumps and tunnel wall
To ensure space for installation, maintenance, emergency walk through
To get feedback from accelerator expert, civil expert, and safty expert

## Slide 12
accelerator components layout, as of Feb. 2020
Accerelator Positioning in tunnel Arrangement
IP
connecting to Damping Ring
e+ BDS
e- BDS
Y-Z plane projection of whole ILC, except DR
e+ Main Linac
e- Main Linac
e+ RTML
e- RTML
e- RTML
e+ RTML
Expanded View or IP region (Y-Z plane projection)
e+ booster
e- Injector

## Slide 13
Main Linac Beam center
RTML Beam Center
Accerelator Positioning in tunnel Arrangement
Main Linac

## Slide 14
A
A
B
B
AA cross-section
BB cross-section
Electron side Main Linac
IP
Main Dump Room
Dump room
Dump room
Photon Dump Room
not include dump-room expansion
C
C
CC cross-section
same as main linac
Accerelator Positioning in tunnel Arrangement
Electron-side BDS
Magnets
Power Supply gallery
Beam Line hight from floor is 1100mm

## Slide 15
A
A
AA cross-section
B
B
positron-side
Main Linac
IP
Main beam
dump
Dump room
BB cross-section
C
C
CC cross-section
same as main Linac
Accerelator Positioning in tunnel Arrangement
Positron-side BDS
Beam Line hight from floor is 1100mm

## Slide 16
130m
Muon dump after main beam dump
Main Beam Dump
Reserved are for 2-nd main beam dump
Dump window exchange device
BDS beam to IP
RTMLbeam
Beam after collision
BDS beam to IP
Proposal from Civil Engineering Society, Evaluation Panel
Accerelator Positioning in tunnel Arrangement
Main Beam Dump Room
Beam Line hight from floor is 1100mm

## Slide 17
Accerelator Positioning in tunnel Arrangement
Main Beam Dump Room
Proposal from Civil Engineering Society

## Slide 18
3-rd Ring is future installation
Arc section and
Straight section narrow area
(TDR)
Straight Section
Wide area
Change 3.5m -> 1.5m shield
5.5
2.175
11
6.7
6
8.9
10.4
11.8
Arc inside
arc outside
Accerelator Positioning in tunnel Arrangement
Damping Ring

## Slide 19
Tunnel Wall 3D-CAD input was finished, September 2020.
This will be the start of feedback.
Creation of 3D tunnel Arrangement
Detector Hall will be discussed with MDI group.
Access Tunnels and Vertical Shafts are temporary one.
To be studied in preparation phase.

## Slide 20
20.5km
Whole ILC tunnel
From PM-8 to PM+8
Expanded View of
Central Area

## Slide 21
Detector Hall View

## Slide 22
Electron-side
Main Beam Dump
Area

## Slide 23
Positron-side
BDS tune-up dump
and
Electron source
tune-up dump
(Plain View)
Positron-side
BDS tune-up dump
and
Electron source
tune-up dump
(3D View)

## Slide 24
Positron-side
Turn-around
and
Bunch Compressor
tune-up dump 1
(3D View)

## Slide 25
Central Region
(3D View)

## Slide 26
Creation of 2D tunnel Plain view and Cross-section view
To check any interference
and To get feedback from accelerator expert, MDI expert, civil expert, and safty expert,
2D drawings with precise dimensions are good for those people,
They are under preparation.
Example of 2D drawings

## Slide 27
1. Based on the Optics Deck as of end of 2019,
the arrangement of accelerator components were made.
2. To house the accelerator, 3D tunnel design was made,
based on the most recent discussion, as a tentative design.
Check any interference, get feedback from expert
will be done using 2D drawings with precise dimensions.
Summary
(*) 2D drawings will be generated from 3D tunnel design.
and it is on a way.

## Slide 28
End of slide