CALICE SiW ECAL – Status of Prototype
Roman Pöschl
On behalf of the SiW ECAL Groups in CALICE:
        SiW Ecal Meeting – 1/10/2021

---
Status of prototype
Since August 23rd and until September 15th smooth operation of stack with 15 layers
Holdscans, Linearity scans by Yuichi and Adrian
15th of september, dismanteling of stack to ensure proper alignment
Essentially rails to prevent layer from lateral sliding, see picture
Approximate mechanical precision 1mm
All material ready (thanks to IJCLab mechanical workshop)
Re-assembly of stack foreseen on October 5th
Have to decide on arrangements of layers, i.e. Best layers to shower centre
Only 12 W plates at IJCLab
Need 14 plates for complete setup
A 13th plate could be cut to proper dimensions at IJCLab workshop
W plates at LLR?
Two more COBs equipped with ASICs over Summer 2021 (in addition to other two
produced during Winter 2020/21
In contact with LPNHE on wafer gluing, we'll select the two best ones
Next meeting Monday, not sure whether we'll make it for this beam test.

---
Towards beam test – To do list
Transport
Material will be transported by R.P. With IJCLab car
Slabs will be transported separately from mechanical housing in box staffed with foam
Material should be ready for transport on evening of 28th of October
Interlock system
Will prepare a hardware interlock that will prevent rising of HV w/o low voltage
Cable from back of LV power supply to interlock interface at back of HV Keithley
FEV13
One card equipped with SL Board at LLR
Will prepare material for a second FEV13 (plus material for deployment to Kyushu)
It is important that both FEV13 will be timely available at IJCLab for tests (next week?)
FEV13 will be mounted on carbon plates for easy insertion
Operation voltage of FEV13
Reassembly of stack
Need to think about optimal arrangement of slabs
i.e. Best slabs in shower centre

---
Towards beam test – To do list
Computing
Will bring three computers plus one laptop to DESY
1 computer for actual data acquisition (will be placed in beam area)
1 computer for detector operation and data monitoring
Essentially 'rdesktop' to DAQ computer
1 computer for DQ checks, data transfer and limited general purpose
1 laptop for debugging and general purpose
Data management
Data can be buffered on 1 TB local disk and then shipped to cernbox
Roman will try to mount disk array onto DAQ computer during October
Several TByte for buffer, maybe useful for local DQ checks
Data storage on grid?
Data monitoring and DQ checks
We have a nice monitoring of the layer performance integrated into the user panel of the DAQ
We have neither high level data monitoring nor an event display
We most likely won't change this for November but this is a weak point
Need to care about this for 2022
DQ checks with scripts by Adrian in github
Adrian and Yuichi are familiar, need to train shift crew members on site
What else?

---
DESY Test beam – On site
The teams
- Week 1/11/21 - 8/11/21
Adrian, Yuichi, Roman, Jihane, Dominique, Hector, Fabricio, Jesus
- Week 8/11/21 - 15/11/21
Adrian, Yuichi, Vincent, Alexandre, Jimmy, Jonas, Shusaku, Stephane
Please be present at the safety training(s) on 1/11/21 and 8/11/21 1pm
Conditions
Currently only two shifters are allowed in the beam test hall, more during setup
Propose to run two shifts per day 8h-16h, 16h-0h
Coordination (proposal)
Overall responsibility: Roman (1st Week), Vincent (2nd week)
Run coordination: Adrian

---
Test beam preparation meeting
Meeting will happen on 7/10/21 at IJCLab (+zoom), start 9am
CALICE reviewers: Jiri (FZU), Mary-Cruz (CIEMAT) and Shen Wei (UHEID)
Agenda
9h-12h presentations and discussion
Proposal for morning agenda
Introduction including mechanics 15+10 (R.P.)
Report from commissioning 15+10 (Adrian and/or Yuichi)
Introduction to DAQ System 15+10 (tbc.)
Coffee break
Run plan 15+15 (Adrian or Vincent)
Software for beam test simulation 15+10 (Fabricio)
Lunch
Workshop visit
Closed discussion by panel and preliminary conclusions with Ecal team

---
DESY Test beam – Run plan
1st week
Setup (1 day)
Need to bring laser system for beam height etc.
Commissioning w/o tungsten (2-3 days)
Hold scan with beam?
Commissioning of additional layers
2nd week tungsten program
Several energy points with high statistics
Different positions, e.g. Scan over wafer boundaries

---
Status of Slabs – FEV10/11/12 + COBs
Slabs < Slab24 are FEV10 or FEV11
Update of FEV13 see talk by Jerome ?

---
Backup

---
Interface to FEV13 and Deployment of hardware
FEV13 connected via interface card to SL-Board
New FEV12 on single slab test bench
Interface card for allows for integration of FEV13 in stack
Successful technical tests in Autumn 2020
In total 7 FEV13 equipped with wafers are available in F and JP
Started to deploy Hardware/software for digital readout
(i.e. SL-Board and User Interface) to other Ecal groups
First “client” LLR
IFIC will follow during visit of Adrian end of May/June, as soon as travel will be possible
In preparation of deployment to Japan is planned

---
15 Slabs setup 02/06/21